Scope of Work

PROJECT NAME:		Taylors Ferry

PROJECT LOCATION:		2401 SW Taylors Ferry Rd, Portland, OR, 97219

PROJECT DESCRIPTION:		17 Homes

SCOPE OF WORK:		Trim Carpentry

DATE OF WORK:		Summer 2026

BID DUE DATE:		03/27/2026 4 pm

Scope of Work:

- Provide all labor to install finish carpentry per plans and NAHB standards:

  - interior doors - including hardware and doorstops

  - trim

  - attic access hatch

  - windowsills/aprons

  - shelving and closet rods

  - bathroom hardware

  - stair handrails

  - surface mount medicine cabinets

- Habitat will supply interior doors, trim, windowsills/aprons, handrails, shelving/rod materials, door hardware, and bathroom hardware. Trim material will be pre-primed pine.

- Interior handrails to be stain grade with water-based poly, satin finish (finish by others)

- Contractor to off-load and move all material into units at time of delivery

- Contractor to provide all other materials.

- Painting and caulking done by others

- Contractor to leave all surfaces broom clean at the end of each day and upon unit completion, in preparation for painter.

- Remove all unused material from unit and move to the next unit.