Scope of Work

PROJECT NAME:		Taylors Ferry

PROJECT LOCATION:		2401 SW Taylors Ferry Rd Portland, OR

PROJECT DESCRIPTION:		17 single family homes

SCOPE OF WORK:		Metal Fabrication

DATE OF WORK:		Fall 2026

BID DUE DATE:		10/16/2026

Schedule

- Duration: Design -

- Duration: Fabrication -

- Duration: Install -

Exact dates communicated by superintendent

Scope of Work:

- Contractor to schedule site walk with Super to see conditions prior to bidding

- Design steel railings per plan and prepare shop drawings for Habitat and architect review and approval

- Fabricate all metal railings

- Provide all labor, material, and equipment to install all metal railings

- Verify existing conditions are adequate for install.

- Contractor to core drill and epoxy all metal railings

- All railings shall be powder-coated black

- Supply Habitat with a powder coat touch up bottle